Brussels, 16.11.2015

GRANT AGREEMENT 649894 — EEPLIANT

Call for Tender for Test Laboratories

Product Activity: WP4 Joint Testing of LED lamps

Pricing

Table 2 – Parameters to be tested and relevant standards to be considered for the testing according to EC communication document 2014/C 22/02

| Measured parameter | Reference | Note | Price per each model(batch) (VAT included) |
| --- | --- | --- | --- |
| EEI | CIE 84 for general conditions of luminous flux measurement; L2(AP)005 for cone luminous flux; EN 62612, 9.3 for efficacy; EN 62612, 9.1 and Annex A for luminous flux, EN 62612, 8.1 and Annex A for power. | The average EEI value shall be calculated from the arithmetic mean of each product's individual EEI. |  |
| Rated lifetime | EN 62612 provides procedures for 6.000 h testing time. |  |  |
| Lamp survival factor | EN 62612, 11.2 | The compliance criteria of the regulations shall be applied. |  |
| Lumen maintenance | EN 62612, 11.2 | The compliance criteria of the regulations shall be applied. |  |
| Number of switching cycles | EN 62612, 11.3.3 |  |  |
| Premature failure rate | EN 62612, 11.2 | An additional read point at 1 000 h and the compliance criteria according to the regulations shall be applied. |  |
| Lamp power factor (only for lamps with integrated control gear) | EN 61000-3-2 |  |  |
| Colour consistency | EN 62612, 10.1 |  |  |
| CCT | prEN 13032-4 |  |  |
| CRI | prEN 13032-4 |  |  |
| Peak intensity | EN 62612, 9.2 |  |  |
| Luminance | CIE 18.2 |  |  |
| Beam angle | EN 62612, 9.2 |  |  |

Table 3 - Tests required for full testing for non-directional LEDs:

| Measured parameter | Reference | Note | Price per each model(batch) (VAT included) |
| --- | --- | --- | --- |
| Lamp efficacy | EN 62612, 9.3 efficacies. To be corrected according to IM 244 with correction factor. | The average efficacy value shall be calculated from the arithmetic mean of each product's individual efficacy. |  |
| Rated lifetime, lamp lifetime | Reliable, accurate and reproducible measurement procedures shall be used. For LED lamps, EN 62612 provides procedures for 6.000 h testing time. |  |  |
| Lamp survival factor | EN 62612, 11.2 | The compliance criteria of the regulations shall be applied. |  |
| Lumen maintenance, lamp lumen maintenance factor | EN 62612, 11.2 | The compliance criteria of the regulations shall be applied. |  |
| Number of switching cycles | EN 62612, 11.3.3 |  |  |
| Premature failure rate | EN 62612, 11.2 | An additional read point at 1.000 h and the compliance criteria according to the regulations shall be applied. |  |
| Lamp power factor | EN 61000-3-2 |  |  |
| Chromaticity coordinates | prEN 13032-4 |  |  |
| CCT | prEN 13032-4 |  |  |
| CRI | prEN 13032-4 | The RA value shall be calculated |  |
| Luminance | CIE 18.2 |  |  |

For the tests of LED Lamps with a rated voltage up to 120 V, reference can also be made to prEN 62663-2.